## Slide 1: Biomedical Imaging Nuclear Imaging (I)
Sebastian Kozerke / Markus Rudin
Institute for Biomedical Engineering, University and ETH Zurich, Switzerland

## Slide 2: Today’s Learning Objectives
Review radioactivity, physical and biological half-life, radioisotopes
Relate geometrical collimation, spatial resolution and PSF
Describe scintillation detection and energy filtering
Derive image reconstruction in SPECT, PET (compare with CT)
Implement CT-based attenuation correction for PET (Exercise)
2
2

## Slide 3: Biomedical Imaging
Nuclear Imaging
XR/CT
Magnetic Resonance
Radiation absorption
Notes: G-rays: <10 pm
X-rays: 10 pm – 10 nm
UV: 10 nm – 400 nm
Light: 400 nm – 750 nm
IR: 750 nm – 500 um
MW: 500 um – 10 cm
RF: >10 cm

## Slide 4: Nuclear imaging
Exogenous tracer as only source of imaging signal
  distribution of radiotracer in tissue upon intravenous injection
  radiotracer are compounds that contain metastable/instable nucleus
  g-emitter or positron emitter
  tracer concentration: pmol - nmol
▶︎ Molecular and perfusion imaging

## Slide 5: Nuclear imaging
Brain
Heart

## Slide 6: Radioactivity
proton-rich
neutron-rich
Radioactive nuclei
Decay modes
a: helium 4-nuclei
b: electrons e-
g: photons
Chapter 3.2

## Slide 7: Radioactivity
First-order kinetics of radioactive decay:
Radioactivity = number of disintegrations per unit time:
Physical half-life time:
Units: Curie (Ci) 1 Ci = 3.71010 disintegrations/s (=activity of 1g 226Ra)
Becquerels (Bq) 1 Bq = 1 disintegration/s

## Slide 8: Biological half-life time
Physical half-life time:
Biological half-life time:
Combined tracer exposer:
Effective tracer half-life time:

## Slide 9: Radioisotopes
Radioisotope | Energy (keV) | Half-life | Production
67Ga | 93, 185, 300 | 3.3d | cyclotron
99mTc | 140 | 6h | generator
111In | 173, 247 | 67h | cyclotron
123I | 160 | 13h | cyclotron
133Xe | 81 | 5.2d | reactor
201Tl | 60, 83 | 73h | cyclotron
Notes: TI thalium

## Slide 10: Challenge
g-photon
e-
n  p+ + e- + hn
▶︎ How to generate spatial resolution?

## Slide 11: Collimation
Chapter 3.6
▶︎ Geometrical collimation provides spatial information at the expense of reduced sensitivity (only a small fraction of decays will be detected)
Notes: TI thalium

## Slide 12: Collimator geometries
Ratio of object size to image size depends on collimator geometry and distance of object plane-collimator plane xo and image plane-collimator plane xi
Effective septal length (Leff) is slightly shorter than the actual physical length (L) of the septa due to residual g-ray transmission:
converging
diverging
image plane
object plane
parallel
xi
xo
scanning large body regions
improved resolution of small region of interest
L

## Slide 13: Geometrical collimation
Leff
x
I
R
o
0
r
col
detector area
visible

## Slide 14: Point-spread function
eff
Point-spread function (PSF) with full-width-at-half-maximum of Drcol

## Slide 15: Clicker Activity (5 min)
?
Assume a cylindrical collimator of a radius of rcol=2mm and length of l=40mm.
The object plane shall be at a distance of x=60mm from the collimator. What is the maximal distance from the collimator axis, at which the scintillation crystal still detects incoming g-photons?
• 16 mm
• 8 mm
• 4 mm
• 2 mm
Scintillator
Collimator
Object plane
rcol
l
x

## Slide 16: Gamma camera
Chapter 3.6
Notes: TI thalium

## Slide 17: Gamma camera

## Slide 18: Scintillation detection
mcrystal : attenuation coefficient
dcrystal : crystal thickness
NaI(Tl)
Photo effect and Compton scattering cause excited electronic states in scintillation crystal ▶︎ photon emission (e.g. 415 nm for NaI(TI))
Detection efficiency e:

## Slide 19: Photomultiplier tube (PMT)

## Slide 20: Positioning network
Spatial response is inferred by combined analysis of output of all photomultiplier tubes
Location along X and Y is determined according to:

## Slide 21: Pulse height analyzer
Pulse height (Z-signal) is sum of output of all PMTs:
E (keV)
100
140
Flux
photo-peak
(unscattered primary photons)
Compton scattering range
lead
peak
iodine escape peak
DE
E0
Energy resolution of PMT:
DE FWHM of energy peak of primary g-quanta
E0 Average energy of primary (unscattered) g-photons
Nlight Number of light photons produced by g-quantum
p Probability that light photon induces electron in PMT

## Slide 22: Signal-to-noise ratio and spatial resolution
Poisson distribution
number of g-photons (N)
Signal-to-noise ratio (SNR)
Rcoll (see above), Rcdetect reflect uncertainty in measurement location of scintillation event (depth of interaction DOI error; error in PMT estimation)
g
crystal
DOI
PMT
Spatial resolution
Chapter 3.7

## Slide 23
Single photon emission computer tomography (SPECT)

## Slide 24: SPECT
▶︎ Systems with rotating gamma camera
Chapter 3.9

## Slide 25: SPECT image reconstruction
▶︎ Image reconstruction using Filtered Backprojection

## Slide 26: SPECT 3D reconstruction
human skeleton using 99mTc based bone tracer
http://www.physics.ubc.ca
Sinogram
Reconstruction

## Slide 27: SPECT applications
Dopamine transporter imaging
SPECT radioligand is derivative of tropane ligand family and labeled with 99mTc
reflects location of dopamine transporter
in caudate putamen.
▶︎ in Parkinson patients receptor density is significantly reduced.
Chapter 3.12
Notes: Dopamine is a catecholamine neurotransmitter present in a wide variety of animals, including both vertebrates and invertebrates. In the brain, this phenethylamine functions as a neurotransmitter, activating the five types of dopamine receptors—D1, D2, D3, D4, and D5—and their variants. Dopamine is produced in several areas of the brain, including the substantia nigra and the ventral tegmental area.[1] Dopamine is also a neurohormone released by the hypothalamus. Its main function as a hormone is to inhibit the release of prolactin from the anterior lobe of the pituitary.
Dopamine is available as an intravenous medication acting on the sympathetic nervous system, producing effects such as increased heart rate and blood pressure. However, because dopamine cannot cross the blood-brain barrier, dopamine given as a drug does not directly affect the central nervous system. To increase the amount of dopamine in the brains of patients with diseases such as Parkinson's disease and dopa-responsive dystonia, L-DOPA, which is the precursor of dopamine, can be given because it can cross the blood-brain barrier.

## Slide 28: MicroSPECT
Pinhole
Miniaturized detector
Standard detector

## Slide 29: MicroSPECT
courtesy F Beekman
High-resolution mouse imaging

## Slide 30: MicroSPECT
Mouse brain
dopamine transporter
Mouse heart
perfusion
courtesy F Beekman

## Slide 31: MicroSPECT
Dynamic SPECT of dopamine transporters in mouse brain
courtesy F Beekman
Left Caudate Putamen
Right Caudate Putamen
Time (minutes)
Cocaine injection
Notes: Dopamine is commonly associated with the reward system of the brain, providing feelings of enjoyment and reinforcement to motivate a person proactively to perform certain activities. Dopamine is released (particularly in areas such as the nucleus accumbens and prefrontal cortex) by rewarding experiences such as food, sex, drugs, and neutral stimuli that become associated with them. Recent studies indicate that aggression may also stimulate the release of dopamine in this way.[19]
This theory is often discussed in terms of drugs such as cocaine, nicotine, and amphetamines, which directly or indirectly lead to an increase of dopamine in the mesolimbic reward pathway of the brain, and in relation to neurobiological theories of chemical addiction (not to be confused with psychological dependence), arguing that this dopamine pathway is pathologically altered in addicted persons.[20][21][22]
[edit]Reuptake inhibition, expulsion
Cocaine and amphetamines inhibit the re-uptake of dopamine; however, they influence separate mechanisms of action. Cocaine is a dopamine transporter and norepinephrine transporter blocker that competitively inhibits dopamine uptake to increase the lifetime of dopamine and augments an overabundance of dopamine (an increase of up to 150 percent) within the parameters of the dopamine neurotransmitters. Like cocaine, amphetamines increase the concentration of dopamine in the synaptic gap, but by a different mechanism. Amphetamines and methamphetamine are similar in structure to dopamine, and so can enter the terminal bouton of the presynaptic neuron via its dopamine transporters as well as by diffusing through the neural membrane directly.[citation needed] By entering the presynaptic neuron, amphetamines force dopamine molecules out of their storage vesicles and expel them into the synaptic gap by making the dopamine transporters work in reverse.

## Slide 32
Positron emission tomography (PET)
Chapter 3.13

## Slide 33: Positron emitters
Radionuclide | Half-life | Emax (MeV) | e+ decay (%)
11C | 20.4 min | 0.96 | 100
13N | 10 min | 1.20 | 100
15O | 2 min | 1.73 | 100
18F | 110 min | 0.63 | 97
22Na | 2.6 y | 0.55 | 90
62Cu | 9.7 min | 2.93 | 97
64Cu | 12.7 h | 0.65 | 29
68Ga | 67.6 min | 1.89 | 89
76Br | 16.2 h | Various | 56
82Rb | 1.3 min | 2.60, 3.38 | 96
124I | 4.2 d | 1.53, 2.14 | 23
Chapter 3.14

## Slide 34: Positron annihilation
positron emitting radionuclide
e-
g(511 keV)
g(511 keV)
Compton scattering
nuclear decay p+  n0 + e+ + n
e+
annihilation e+ + e-  g + g
Coincidence detection of two g-photons gives information on location of positron-electron annihilation (not on location of radionuclide)

## Slide 35: Positron annihilation range
Emax=635keV
Emax=970keV
Emax=1190keV
Emax=1720keV
Levin, Hoffmann, Phy Med Biol 44: 781-799 (1999)
18F
11C
13N
15O

## Slide 36: Coincidence detection
Image courtesy of HUG
Chapter 3.15
Notes: Registration of event:
Coincidence detection, i.e.
two events occuring within a
time window Dt attributed to
One anihilation event
| t1 - t2 | < Dt
Resolution:
- Positron lifetime -> 0.3-1 mm
Number of detectors and size of detector
Off-center position
Setting of t
colineraity

## Slide 37: Coincidence detection
A
B
A
B
A+B
Coincidence window 2t
t
threshold

## Slide 38: Clicker Activity (5 min)
What is the maximum possible time difference of scintillation events in this example?
  • 12 ns
  • 24 ns
  • 1.2 ns
  • 2.4 ns
45 cm
35 cm
25 cm
Detector ring
Human body

## Slide 39: Line of Response (LoR)
f
r
x
y

## Slide 40: Image reconstruction
x
y
r
s
X-ray source
Detector
f
x
y
r
s
f
Detector ring
LoR
▶︎ Image reconstruction using FBP
CT
PET

## Slide 41: Scintillation crystals
Scintillation crystal | Density g/cm3 | Light f per 511 keV | Decay time (ns) | Linear attenuation (cm-1)
Sodium Iodide NaI(Tl) | 3.67 | 19400 | 230 | 0.34
Bismuth Germanate BGO | 7.13 | 4200 | 300 | 0.96
Lutetium Orthosilicate LSO | 7.40 | 13000 | 47 | 0.88
Gadolinium Orthosilicate GSO | 6.71 | 4600 | 56 | 0.70

## Slide 42: Detector
Block of scintillation crystal
Reflector material
Four single channel photomultiplier tubes
SA
SD
SB
SC
Geometrical information

## Slide 43: Geometric correction
Flood histogram
Derivation of
geometrical information
Correction
A
B
C
D
y
x

## Slide 44: Point-spread function
x
0
r
Detector
Detector
Annihilation
w

## Slide 45: Point-spread function
w
x
0
r
x
y
r
Detector
Detector

## Slide 46: Axial coverage
z/2
z
r
z/2
z

## Slide 47: Detection and geometric efficiency
Detection efficiency
crystal thickness d
efficiency
Fraction of events within energy window: F
Attenuation by scintillation crystal: m
z
D
Geometric efficiency
single detector
coincidence detector

## Slide 48: Total sensitivity
Radial coverage
Total sensitivity
yd
xd
x
y

## Slide 49: Attenuation correction
Chapter 3.18

## Slide 50: Attenuation correction
xij
Dij-xij
Loss of g-photons due to Compton scattering
Total scattering probability

## Slide 51: Attenuation correction
-1
1
0
0
1.0
0.5
Intensity
y-coordinate
Scattering probability
Attenuation correction

## Slide 52: Attenuation correction
*
=
Attenuation correction

## Slide 53: “The most important slides”